## DMB-PCa
Ca Calibration |  |  |  | For Entry of pCa
|  | Solution Conditions |  |  |  | K'Ca Calculation (see A32..G47) |  |  |  | Regression Analysis (see I29-K35)
|  | 7.2 | pH |  |  | B= | 5.1254 | Intermed |  | 4.9536 | [EGTA]tot (mM)
|  | 0.15 | M Ionic Equiv (0.5*sum ¦zi¦Ci) |  |  | Gamma H= | 0.76296 | H activity coefficient |  | 0.99799 | r^2
|  | 23 | degrees C |  |  | Log [H] = | -7.0825 |  |  | Range for Linear Regression for Scatchard
|  | 5 | mM EGTA |  |  | [H] (M) = | 8.2699e-08 |  |  | Should be linear Electrode/Scatchard slope
|  | 500 | ml bottle |  |  | K'Ca Assn= | 6362839.7916 | Log K'Ca= | 6.8037 | 6.8684 | =Log K'Ca from Scatchard
| Kd= | 1.5716e-07 | M or | 0.15716 | uM | K'Ca Discn M= | 1.5716e-07 |  |  | 1.354e-07 | =K'Ca Dissociation from Scatchard
[6 empty] | " (nM)= | 157.1625 |  |  | 135.3973 | nM
| Initial | Ca-free | Ca-total | ml 100 mM | V-Ca | Ca-free | Ca-free | Ca-Bound | B/F | Regresn | inter | Recalculated
| pCa | (nM) | (mM) | CaCl2 | (mV) | (M) | (nM) | (mM) |  | line B/F | mediate | (nM) | pCa
1 | 8.5 | 3.1623 | 0.098621 | 0.49311 | -152 | 5.3831e-09 | 5.3831 | 0.098616 | 18319.4049 | 35857.3787 | -0.0048551 | 2.7503 | 8.5606
2 | 8 | 10 | 0.29911 | 1.4956 | -142.6 | 1.1355e-08 | 11.3546 | 0.2991 | 26341.6537 | 34376.672 | -0.0046546 | 8.7007 | 8.0604
3 | 7.5 | 31.6228 | 0.83754 | 4.1877 | -131.5 | 2.7411e-08 | 27.4114 | 0.83751 | 30553.3836 | 30400.1429 | -0.0041162 | 27.5496 | 7.5599
4 | 7 | 100 | 1.9443 | 9.7217 | -117.1 | 8.5997e-08 | 85.9969 | 1.9442 | 22608.3586 | 22226.1403 | -0.0030094 | 87.4757 | 7.0581
5 | 6.5 | 316.2278 | 3.3402 | 16.7012 | -101.4 | 2.9913e-07 | 299.1314 | 3.3399 | 11165.4738 | 11917.9902 | -0.0016135 | 280.2488 | 6.5525
6 | 6 | 1000 | 4.3218 | 21.6089 | -85 | 1.1e-06 | 1099.9661 | 4.3207 | 3928.0104 | 4674.6104 | -0.00063197 | 924.58 | 6.0341
7 | 5.5 | 3162.2777 | 4.7663 | 23.8314 | -70.4 | 3.5061e-06 | 3506.1265 | 4.7628 | 1358.4153 | 1409.4232 | -0.00018746 | 3381.5339 | 5.4709
8 | 5 | 10000 | 4.9325 | 24.6624 | -51.9 | 1.5232e-05 | 15232.0593 | 4.9172 | 322.8223 | 268.5446 | -2.1264e-05 | 17312.4389 | 4.7616
9 | 4.5 | 31622.7766 | 5.0067 | 25.0337 | -38.1 | 4.5564e-05 | 45563.879 | 4.9612 | 108.884 | -55.8931 | 5.2996e-05 | 63647.1479 | 4.1962
10 | 3 | 1000000 | 5.9991 | 29.9953 | 0 | 0.00093846 | 938455.7359 | 5.0606 | 5.3925 | -790.218 | 0.0010453 | 1046090.192 | 2.9804
11 | 3 | 1000000 | 5.9991 | 29.9953 | 0 | 0.00093846 | 938455.7359 | 5.0606 | 5.3925 | -790.218 | 0.0010453 | 1046090.192 | 2.9804
12 | 3 | 1000000 | 5.9991 | 29.9953 | 0 | 0.00093846 | 938455.7359 | 5.0606 | 5.3925 | -790.218 | 0.0010453 | 1046090.192 | 2.9804
| 2 | 10 mM | 10 mM |  | 28.2 |  |  |  |  | From | Regression
| 3 | 1 mM | 1 mM |  | 0.8 |  |  |  |  | [EGTA]tot |  | K-Ca-EGTA
| 4 | 100 uM | 100 uM |  | -29.6 |  |  |  |  | 4.9536 | mM | 7.3857 | x 10^6 /M
|  |  |  | Avg slope= | 28.9 |  |  |  |  | 99.07% | % pure | 6.8684 | = log K
|  |  |  | Slope (mV)= | 29 |  |  |  | Regression I/J14-:21 |  | Regression I/J13-:21
|  |  | mV offset at 1 mM Ca= |  | 0.8 |  |  |  | Slope | B/F intercept | Slope | B/F intercept
[9 empty] | -7385.6714 | 36585.7215 | -6516.4564 | 32752.7464
| Temperature and Ionic Strength Correction | [6 empty] | SE of Coeff | 135.4059 | 548.7518 | 435.3229 | 1663.8777
| Std Cond | Ionic Str | Final | Final |  |  |  | R^2 | 0.99799 | 571.3962 | 0.96971 | 2324.1408
Temp | 20 | incl T eff | 23 | Deg C |  |  |  | F stat | 2975.1225 | 6 | 224.0784 | 7
I-Eq | 0.1 | 0.15 | 0.15 | M | Delta H | valence |  | Reg Sum Sq | 971358348.899 | 1958961.4007 | 1210388715.042 | 37811412.8674
Stoich | Log K | Log K' | Log K' | K' (M) | kcal/mol | 2*x*y
Const
K1 | 9.47 | 9.3576 | 9.3138 | 2059670597.7929 | -5.8 | 8
K2 | 8.85 | 8.7657 | 8.7219 | 527094740.5401 | -5.8 | 6
K3 | 2.66 | 2.6038 | 2.6038 | 401.6226 | 0 | 4
K4 | 2 | 1.9719 | 1.9719 | 93.7366 | 0 | 2
KCa | 10.97 | 10.7453 | 10.684 | 48311425547.7106 | -8.1 | 16
KCa2 | 5.3 | 5.1315 | 5.1315 | 135348.8343 | 0 | 12
Log f | 0.10922 | 0.12327
Temp | 293 | 296
A | 0.50742 | 0.51007
epsil | 80.1057 | 79.0197